## Slide 1: High Level Processing Steps for Each Project
In development
Input\ output
matlab
Powershell
Python
SQL
Scan / Transfer to bki
Image corrections
inForm Processing
Visual QC
datavalidation
dbload

## Slide 2: Scanning Process
Update Specimen Table
AstroID Gen
Transfer to bki
Overview Scan
Slide Received
Slides Stained
TMA QC
Create scanning plan
Slides scanned
BatchID added
In development
Input\ output
matlab
Powershell
Python
SQL
Update Specimen Table
AstroID Gen
Transfer to bki
OverviewScan
Slide Received
Slides Stained
TMA QC
scanplan
im3scan
BatchID added
Current Development
In Development

## Slide 3: Scans Overview
im3scan
scanplan
OverviewScan
Logs an event each time a new scan folder is present for a sample
Logs when the scanning plan is created for a particular scan
Open the scanning plan and report number of pending for acquisition im3s (if that value has gone up since the previous check for a slide-scan pair)
Reports the number of im3s out of number of expected im3s based on the scanning plan
In development
Input\ output
matlab
Powershell
Python
SQL

## Slide 4
deepzoom
align
annowarp
prepdb
zoom
csvscan
geomcell
geom
Slides
im3 files
Annotations
Component tiffs
image masks
SampleDB
SampleDB
SampleDB
Control
Control
Control
flatw images
*.xml
Segmentations
Object catalogs
In development
Input\ output
matlab
Powershell
Python
SQL
makeSampleid
loaddb
loadzoom
LoadSample
Clinical
WSIxx
prepmerge
createmerge
mergedb
zindex
celltag
matches
mergezoom
Zoomxx
linkzoom
calibrate
clinical
ctrl
Samples
stitchmask
Visual QC
MaSS
MaSS
MaSS
A
vminform
vminform
vminform
segmaps
validatedata
injectdat
applyflatw
shreddat
imagebinary
imagecorrection
mergeloop
HPFs
shredXML
exposures, full, params
batchflatfield
meanimage
meanimage
meanimage
meanimagecomparison
flatfield
Warping
fits
Warping
Octet finding
Warping
Octet finding
Warping
Octet finding
warping

## Slide 5: AstroPath Processing
flatfield
Image corrections
mergeloop
sepmaps
validatedata
dbload
warping

## Slide 6: meanimage
returndata
convertIM3path
Extract image binary
downloadim3
In development
Input\ output
matlab
Powershell
Python
SQL
meanimage
cleanup
Downloads im3s to a working directory on a SSD (Improves read time while working with the images in matlab or python and reduces strain on the network)
Extracts a Data.dat files for each im3
v0.0.1 only
Find the total image, across layers of the image in a single column format
Save the number of images in each case so we can easily build an average image later
Copies the saved total image and .csv file with metadata (number of images and image shape) to the data source
Deletes data from the working directory
Builds image masks based on intensity profiles to exclude artifacts in images
Finds the average image, excluding regions defined as artifact
Copies the image masks and final average image back to the data source location

## Slide 7: imagecorrection
injectdat
shreddat
image binary, exposures, params
extractlayer
In development
Input\ output
matlab
Powershell
Python
SQL
applyflatw
downloadim3
Downloads im3s to a working directory on a SSD (Improves read time while working with the images in matlab or python and reduces strain on the network)
fixM2
Resolves the M# files created by scanning errors.
Added here so that the function can be used globally without the AstroPathPipeline
v0.0.1 only
Apply the flatfield model defined by meanimage v0.0.1
Only applies the warping model to JHU Vectra 3.0
Applies the flatfield model and image warping corrections to all images
Extracts a *.Data.dat files for each im3
Extracts a *.Parameters.xml and a *.full.xml file for each slide
Extracts a *.SpectralBasisInfo.Exposure.xml for each slide
Injects the corrected *.Data.dat files back into the *.im3 files
Renames Data.dat files to *.fw
Extracts the first image layer as *.fw01
cleanup
Sends the corrected *im3 files to the im3\flatw path on the source location
Sends the *.fw and *.fw01 to the flatw location
Sends the *.xml data to the im3\xml path
Deletes the .Data.dat files

## Slide 8: mergeloop SubSteps
Create inForm Algorithm AB6
Submit to Queue
VM Processing
VM Finished
QC Images Generated
QC Failed
Create inForm Algorithm AB6_2
Create inForm Algorithm AB5
Submit to Queue
VM Processing
VM Finished
QC Images Generated
QC Passed
Create inForm Algorithm AB4
Submit to Queue
VM Processing
VM Finished
QC Images Generated
QC Failed
Create inForm Algorithm AB4_2
Create inForm Algorithm AB3
Submit to Queue
VM Processing
VM Finished
QC Images Generated
QC Failed
Create inForm Algorithm AB3_2
Create inForm Algorithm AB2
Submit to Queue
VM Processing
VM Finished
QC Images Generated
QC Failed
Create inForm Algorithm AB2_2
SlideReady
Create inForm Algorithm AB1
Submit to Queue
VM Processing
VM Finished
QC Images Generated
QC Passed
In development
Input\ output
matlab
Powershell
Python
SQL

## Slide 9: vminform
checkinform
launchinform
checkresults
In development
Input\ output
matlab
Powershell
Python
SQL
createdirs
Creates a processing directory under users\public\batchprocessing
downloadim3
Downloads im3s to a working directory on the VM (Improves read time while working with the images reduces strain on the network)
Launches inForm as a background process
After inForm is launched, check every 5 minutes:
  to see if the process has returned complete
  OR to verify that the batch log was written to (ensuring that process is not orphaned)
If the process is deemed orphaned kill all related processes and restart (restarts 5 times before returning as an error)
Confirm that all images completed successfully, rerunning failed images
cleanup
Returns the respective inform data that was run to the correct antibody folder ( or to the component tiffs folder).

## Slide 10
mergeConfig
Read and process the merge file to get info like:
Antibody names
Opal pairings
The segmentation hierarchy
Which cells are in the same segmentation
Which cells co-express
How whether a cell is a lineage or expression marker
getfilenames
Get the file names for each image
Check that all necessary data exists for each antibody target
fileloop
Call mergetbls in a parallel loop for each image
mergetbls merges each table and exports the results into the csv file
MaSS
In development
Input\ output
matlab
Powershell
Python
SQL

## Slide 11
readalltxt
Description:
Read the text files for each antibody
Extract only important columns
Get the units type for each text file (pixels or microns)
getphenofield
Description:
Get the positive phenotype cells for each antibody
Do a unit conversion to px if necessary
Establish Other cells
getdistinct
Description:
Check for ‘Other’ cells with cell centers 6 pixels from cells
remove duplicate ‘Others’
getcoex
getseg
getexprmark
parsave
Description:
Resolve double positive cells
Establish lineage co-expression
Description:
Establish the expression marker positivity on membranes using cell centers for duplicates;
possible storing; find examples
Description:
remove ‘Other’ cell centers inside membranes of positive phenotype cells
Description:
Format and save the final data table as a csv file
fileloop mergetbls
In development
Input\ output
matlab
Powershell
Python
SQL