## Slide 1: Scanning Process
2.Update Specimen Table
4.AstroID Gen
10.Transfer to bki
5.Overview Scan
1.Slide Received
3.Slides Stained
6.TMA QC
7.Create scanning plan
8.Slides scanned
9.BatchID added

## Slide 2
In development
Input\ output
matlab
Powershell
Python
31.deepzoom
32.loadzoom
33. mergezoom
6.im3
19.align
8.polygons
21.annowarp
11.prepdb
20.zoom
23.dbload
17.csvscan
16.geomcell
22.geom
SampleDB
15.Component images & segmaps
3.meanimage
3.meanimage
7.meanimage
10.flatw \ shredXML
10.flatw \ shredXML
10.flatw \ shredXML
9.batch flatfield model
14.Visual QC
13.mergeTables
13.mergeTables
13.mergeTables
A
6.InForm
6.InForm
12.InForm
1.Received Microscope \ Microscope Change
3.ExposureTime\ Dark current offsets detection
2.Preliminary flatfield model across a few slides
4.Measure warping
5. test warping model
9. image masks
0. Clinical
24.runcalibration
25.prepmerge
26.createmerge
27.loadmergedb
29.zindex
28.celltag
SampleDB
SampleDB
SampleDB
Control
Control
Control
MergeDB
30.matches
ZoomDB

## Slide 3
im3 files
annotations
Component tiffs
Received Microscope, Microscope Change
deepzoom
align
annowarp
prepdb
zoom
csvscan
geomcell
geom
image masks
Clinical
SampleDB
SampleDB
SampleDB
Control
Control
Control
WSIxx
runcalibration
prepmerge
createmerge
loadmergedb
zindex
celltag
matches
mergezoom
Zoomxx
shredXML
image binary
shredXML
exposures, params
flatw images
*.xml
3.meanimage
3.meanimage
meanimage
Batch flatfield model
ExposureTime
Dark offsets
Preliminary flatfield model across a few slides
Measure warping
Test warping model
*bin
InjectIM3.exe
Apply flatw
Visual QC
mergeTables
mergeTables
mergeTables
A
6.InForm
6.InForm
InForm
Segmentations
Object catalogs
SampleDB(n)
loadzoom
dbload
SampleDB
Geometries
Duplicates (SQL)
In development
Input\ output
matlab
Powershell
Python
SQL
linkzoom